## Slide 1: Evaluation of LoIs for “New equipment and infrastructures”
Carlos GUERRERO
Universidad de Sevilla, 41012 Seville, Spain
Centro Nacional de Aceleradores (CNA), 41092 Seville, Spain
H2020 EURATOM NTR-01-06 project preparation meeting
CIEMAT, July 7th 2023

## Slide 2: Summary of LoIs received: fact sheet
16 Letters of Interest (LoI) received, grouped into 12 projects:
Topics:
Charged particle detectors: 5
Neutron detectors: 6
Gamma-ray detectors: 1
Nuclear data facility upgrades: 4
9 of 16 LoI's related to nTOF detectors
Chart: Countries
| Austria | France | Germany | Greece | Italy | Netherlands | Poland | Spain | United Kingdom
 | 1 | 2 | 2 | 2 | 1 | 2 | 1 | 3 | 2
Chart: Budget per LoI: 1400 k€ total
| nTOFcpxs | SiTelescope | DEAR | NEDEGARA | NDELISA | ACTAnp | NEDEGARA | NPL-T | SADR | NEWVAL | SADR | SiTelescope | SCINDET | DEAR | (NA)2STARS | TERRIFIC
 | 0 | 10000 | 35000 | 404400 | 25000 | 132000 | 145000 | 38000 | 40000 | 17500 | 30000 | 145000 | 30000 | 10000 | 16408 | 319000
Chart: 
| Personnel costs | Travel | Fungible | Equipment
 | 1204808 | 62500 | 15000 | 115000
85%

## Slide 3
140 | (NA)2STARS: Decay Data Measurements: Instrumental Developments | (NA)2STARS: Decay Data Measurements: Instrumental Developments |  | 
Alejandro Algora, IFIC (Spain) |  |  |  | 
LoI: Upgrade of existing Total Absorption Spectrometers (TAS) for beta decay studies of relevance for the calculation of reactor decay heat and the reactor antineutrino spectra. Building a TAS of 2nd generation, allying efficiency with higher segmentation and energy resolution thanks to 16 LaBr3 crystals to be added to the existing segmented TAS in Europe i.e. the DTAS detector (18 NaI crystals) and the Rocinante detector (12 BaF2 crystals). |  |  | Upgrade of existing Total Absorption Spectrometers (TAS) that will be employed in beta decay studies of relevance for the calculation of reactor decay heat and the reactor antineutrino spectra. Building a TAS of second generation, allying efficiency with higher segmentation and energy resolution thanks to 16 LaBr3 crystals to be added to the existing segmented TAS in Europe i.e. the DTAS detector (18 NaI crystals [DTAS]) and the Rocinante detector (12 BaF2 crystals [Rocinante]) | 
Comments by evaluator: Beta decay studies with TAS were already part of SANDA. The overall project is ambitious and requires important funds for purchasing LaBr3 detectors, but it does not depend on its acceptance in newSANDA, as the request is “only for personnel”. Overall, we would keep decay data detector R&D in the project at a very low cost. In comparison to other LoIs, it improves currently available capabilities, while other LoIs aim at developing new capabilities. |  |  |  | 
Total |  | Personel | Travel | Equipment
16.408,0 € |  | 13.408,0 € | 3.000,0 € | 0,0 €
3

## Slide 4
61 | ACTAnp: An Active Target for n-p Cross Section Measurements at the PTB TOF Spectrometer | ACTAnp: An Active Target for n-p Cross Section Measurements at the PTB TOF Spectrometer |  | 
Elisa Pirovano, PTB (Germany) |  | PTB | Germany | Elisa Pirovano
LoI: Development of an active scattering target, made of EJ-276D, for measuring the n-p cross section at PTB. The active target is needed to eliminate the interference of elastic scattering on hydrogen nuclei and elastic and inelastic scattering on carbon nuclei contained in polyethylene samples. |  |  | Upgrade of existing Total Absorption Spectrometers (TAS) that will be employed in beta decay studies of relevance for the calculation of reactor decay heat and the reactor antineutrino spectra. Building a TAS of second generation, allying efficiency with higher segmentation and energy resolution thanks to 16 LaBr3 crystals to be added to the existing segmented TAS in Europe i.e. the DTAS detector (18 NaI crystals [DTAS]) and the Rocinante detector (12 BaF2 crystals [Rocinante]) | 
Comments by evaluator: It deals with an important reaction and is a relevant development. The budget request is very high: 44% of the overall available => severe budget reduction in order. |  |  |  | 
Total |  | Personel | Travel | Equipment
132.000,0 € |  | 132.000,0 € | 0,0 € | 0,0 €
4

## Slide 5
121 21 | DEAR: Diamond detector for in-beam measurements at NEAR (n_TOF) |  |  | 
Erwin Jericha, TUWien (Austria) Maria Diakaki, NTUAthens (Greece) |  | PTB | Germany | Elisa Pirovano
LoI: The new n_TOF-NEAR station is ready and avalilable, but so far only activation experiments have been carried out. A diamond detector with dedicated electronics will be developed and tested to assess the feasibility of ToF measurements at NEAR. |  |  | Upgrade of existing Total Absorption Spectrometers (TAS) that will be employed in beta decay studies of relevance for the calculation of reactor decay heat and the reactor antineutrino spectra. Building a TAS of second generation, allying efficiency with higher segmentation and energy resolution thanks to 16 LaBr3 crystals to be added to the existing segmented TAS in Europe i.e. the DTAS detector (18 NaI crystals [DTAS]) and the Rocinante detector (12 BaF2 crystals [Rocinante]) | 
Comments by evaluator: It is worth assessing the capabilities for ToF measurements at the new nTOF-NEAR with active detectors, which now is only suitable for activation. Budget seems reasonable. |  |  |  | 
Total |  | Personel | Travel | Equipment
TU Wien: 10.000 € NTUA: 35.000 € |  | 0 € 15.000 € | 10.000 € 5.000 € | 0 € 15.000 €
3

## Slide 6
59 | NDELISA: New vacuum-proof detectors for ELISA upgrade | NDELISA: New vacuum-proof detectors for ELISA upgrade |  | 
Myroslav Kavatsyuk, U. Groningen (Netherlands) |  | PTB | Germany | Elisa Pirovano
LoI: The ELISA set-up is used at JRC-Geel GELINA to measure neutron inelastic scattering and (n, xn) reactions. Currently, 30% of the background is ralated to neutron scattering in air between the sample and the detectors. Tests will be carried out to use SiPM, instead of current PMTs, in vacuum to avoid this background. |  |  | Upgrade of existing Total Absorption Spectrometers (TAS) that will be employed in beta decay studies of relevance for the calculation of reactor decay heat and the reactor antineutrino spectra. Building a TAS of second generation, allying efficiency with higher segmentation and energy resolution thanks to 16 LaBr3 crystals to be added to the existing segmented TAS in Europe i.e. the DTAS detector (18 NaI crystals [DTAS]) and the Rocinante detector (12 BaF2 crystals [Rocinante]) | 
Comments by evaluator: It seems like a relevant development for improving the current the capabilities of ELISA. Budget seems reasonable In comparison to other LoIs, it improves currently available capabilities, while other LoIs ain to develop new capabilities. |  |  |  | 
Total |  | Personel | Travel | Equipment
25.000,0 € |  | 15.000,0 € | 5.000,0 € | 5000,0 €
2

## Slide 7
51 68 | NEDEGARA: Development of an in-beam neutron detector for total cross section measurements in presence of gamma radiation | ACTAnp: An Active Target for n-p Cross Section Measurements at the PTB TOF Spectrometer |  | 
Frank Gunsing, CEA (France) Arnd JUNGHANS, HZDR (Germany) |  | PTB | Germany | Elisa Pirovano
LoI: Transmission total cross sections measurements, ideal to complement capture, fission, etc, have not been carried out so far at nTOF, where the intense g-flash can be a serious issue when placing neutron detectors in the beam. Detector developments and tests at nELBE and nTOF are foreseen to assess the feasibility of (n,tot) measurements at n_TOF. |  |  | Upgrade of existing Total Absorption Spectrometers (TAS) that will be employed in beta decay studies of relevance for the calculation of reactor decay heat and the reactor antineutrino spectra. Building a TAS of second generation, allying efficiency with higher segmentation and energy resolution thanks to 16 LaBr3 crystals to be added to the existing segmented TAS in Europe i.e. the DTAS detector (18 NaI crystals [DTAS]) and the Rocinante detector (12 BaF2 crystals [Rocinante]) | 
Comments by evaluator: It is certainly important to add (n,tot) to the nTOF portfolio. The collaboration between the two LoIs (CEA and nELBE, + JRC) is very well suited for the Project. The budget request nearly doubles the total available for detector and infrastructures. => severe budget reduction is in order |  |  |  | 
Total |  | Personel | Travel | Equipment
CEA: 404.400 € HZDR: 145.000 € |  | 374.400 € 135.000 € | 0,0 € 0,0 € | 30.000 € 10.000 €
4

## Slide 8
81 | NEWVAL: New Integral Experiments for Nuclear Data Validation | ACTAnp: An Active Target for n-p Cross Section Measurements at the PTB TOF Spectrometer |  | 
Julien TAFOREAU, IRSN (France), Robert Jacquemin (CEA), J. Wagemans (SCK-CEN Mol), L. Snoj (JSI), M. Kostal (CV Rez), A. Plompen (EC/JRC Geel) |  | PTB | Germany | Elisa Pirovano
LoI: Address the nuclear data community’s concerns arising from the loss of ZPR-type experimental capabilities. The result should be a report on: the integral or semi-integral experiments that can be done using the existing infrastructure, equipment and staff; the functional specifications of new ZPR-type facilities for ND validation. |  |  | Upgrade of existing Total Absorption Spectrometers (TAS) that will be employed in beta decay studies of relevance for the calculation of reactor decay heat and the reactor antineutrino spectra. Building a TAS of second generation, allying efficiency with higher segmentation and energy resolution thanks to 16 LaBr3 crystals to be added to the existing segmented TAS in Europe i.e. the DTAS detector (18 NaI crystals [DTAS]) and the Rocinante detector (12 BaF2 crystals [Rocinante]) | 
Comments by evaluator: It can be a very valuable project for the integral experiments and ND community. The collaboration between all partners is well suited for the project. |  |  |  | 
Total |  | Personel | Travel | Equipment
17.500 € |  | 16.000 € | 1.500 € | 0 €
3

## Slide 9
70 | NPL-T: Higher power target designs for neutron production for nuclear data | ACTAnp: An Active Target for n-p Cross Section Measurements at the PTB TOF Spectrometer |  | 
Michael Bunce, NPL (United Kingdom) |  | PTB | Germany | Elisa Pirovano
LoI: The upgrade of the NPL accelerator will allow for beam currents in the order of ~500 uA, compared to the current 80 uA beams. A new target holder with forced cooling will be designed and tested, which would be used for future ND measurements. |  |  | Upgrade of existing Total Absorption Spectrometers (TAS) that will be employed in beta decay studies of relevance for the calculation of reactor decay heat and the reactor antineutrino spectra. Building a TAS of second generation, allying efficiency with higher segmentation and energy resolution thanks to 16 LaBr3 crystals to be added to the existing segmented TAS in Europe i.e. the DTAS detector (18 NaI crystals [DTAS]) and the Rocinante detector (12 BaF2 crystals [Rocinante]) | 
Comments by evaluator: Really necessary to use the upcoming 500 uA beams at NPL. There are published target designs that could be (nearly) directly implemented, but they certainly need to be adapted and tested. The budget details do not agree between the LoI document and the table |  |  |  | 
Total |  | Personel | Travel | Equipment
38.000 € (not EC) |  | 38.000,0 € | 0,0 € | 0,0 €
2

## Slide 10
115 20 | SiTelescope: Toward new detection set-up for (n, cp) cross section measurements | SiTelescope: Toward new detection set-up for (n, cp) cross section measurements |  | 
Jaroslaw Perkowski, Ulodz (Poland) Alberto Pérez de Rada Fiol, CIEMAT (Spain) |  | PTB | Germany | Elisa Pirovano
LoI: Development and test of a Si-telescope system to measure (n,cp) in the MeV at nTOF. Telescope of 50x50mm2, with 16 strips and thicknesses of 300 and 1500 μm. |  |  | Upgrade of existing Total Absorption Spectrometers (TAS) that will be employed in beta decay studies of relevance for the calculation of reactor decay heat and the reactor antineutrino spectra. Building a TAS of second generation, allying efficiency with higher segmentation and energy resolution thanks to 16 LaBr3 crystals to be added to the existing segmented TAS in Europe i.e. the DTAS detector (18 NaI crystals [DTAS]) and the Rocinante detector (12 BaF2 crystals [Rocinante]) | 
Comments by evaluator: s(n,chp) in the MeV are certainly of interest for nTOF. No mention to any particularity of the proposed telescope (do previous tests at nTOF point any limitations, as mentioned in SADR?) Synergies with “SADR”? ULodz budgets request is 48% of the total available for Detector and Facilities R&D => Severe Budget request in order. |  |  |  | 
Total |  | Personel | Travel | Equipment
ULodz: 145.000 € CIEMAT: 10.000 € |  | 126.000 € 10.000 € | 4.000 € 0 € | 15.000 € 0 €
4

## Slide 11
106 77 | SADR: Validation of a charged-particles detection system: the new Annular DSSSD | SADR: Validation of a charged-particles detection system: The new Annular DSSSD |  | 
Nikolaos Patronis, UIoannina (Greece) Luigi Cosentino, INFN-LNS (Italy) |  | PTB | Germany | Elisa Pirovano
LoI: Test and characterization of an annular neutron-transmutation-doped (NTD) position sensitive silicon detector double differential (dσ/dEndΩ) measurements at nTOF. Instead of telescope, PSD in single layer detector will be achieved through PSA and neural networks. |  |  | Upgrade of existing Total Absorption Spectrometers (TAS) that will be employed in beta decay studies of relevance for the calculation of reactor decay heat and the reactor antineutrino spectra. Building a TAS of second generation, allying efficiency with higher segmentation and energy resolution thanks to 16 LaBr3 crystals to be added to the existing segmented TAS in Europe i.e. the DTAS detector (18 NaI crystals [DTAS]) and the Rocinante detector (12 BaF2 crystals [Rocinante]) | 
Comments by evaluator: s(n,chp) in the MeV are certainly of interest for nTOF. In comparison to conventional telescope approach, it proposes PSD with NTD DSSSD that, if works, would allow reducing the detection thresholds and improving the (n,chp) measurements. Budget seems reasonable. Synergies with “Si-Telescope”? |  |  |  | 
Total |  | Personel | Travel | Equipment
UIoannina: 30.000 € INFN-LNS: 40.000 € |  | 25.000 € 35.000 € | 5.000 € 5.000 € | 0 € 0 €
4

## Slide 12
2 | nTOFcpxs: Characterization of new Si detectors at n_TOF for the measurement of (n,cp) reactions cross section | ACTAnp: An Active Target for n-p Cross Section Measurements at the PTB TOF Spectrometer |  | 
Giuseppe Lorusso, NPL (United Kingdom) |  | PTB | Germany | Elisa Pirovano
LoI: It seems like a request for participation in SADR. |  |  | Upgrade of existing Total Absorption Spectrometers (TAS) that will be employed in beta decay studies of relevance for the calculation of reactor decay heat and the reactor antineutrino spectra. Building a TAS of second generation, allying efficiency with higher segmentation and energy resolution thanks to 16 LaBr3 crystals to be added to the existing segmented TAS in Europe i.e. the DTAS detector (18 NaI crystals [DTAS]) and the Rocinante detector (12 BaF2 crystals [Rocinante]) | 
Comments by evaluator: The connection with SADR seems obvious but it is not mentioned. No budget is specified, although it is mentioned that there will be a request for travel only. If that is the case, maybe not justified. |  |  |  | 
Total |  | Personel | Travel | Equipment
0 € | 0 € | 0 € | Just mentioned, but not quantified | 0 €
?

## Slide 13
118 | SCINDET: Characterization of liquid scintillator detectors | SCINDET: Characterization of liquid scintillator detectors |  | 
Trino Martinez Perez, CIEMAT (Spain) |  | PTB | Germany | Elisa Pirovano
LoI: The use of liquid scintillators (for instance MONSTER like) for measuring neutrons beyond 14 MeV needs to be studied in detail: light yields and contributions from the different natC(n,x) reactions is required. Experiments to be performed at NFS. |  |  | Upgrade of existing Total Absorption Spectrometers (TAS) that will be employed in beta decay studies of relevance for the calculation of reactor decay heat and the reactor antineutrino spectra. Building a TAS of second generation, allying efficiency with higher segmentation and energy resolution thanks to 16 LaBr3 crystals to be added to the existing segmented TAS in Europe i.e. the DTAS detector (18 NaI crystals [DTAS]) and the Rocinante detector (12 BaF2 crystals [Rocinante]) | 
Comments by evaluator: In the case of a liquid scintillator, to use it at high energies it is certainly necessary to study the light response of the detector beyond 14 MeV. NFS seems like the obvious and maybe only, facility were this can be done. Budget seems reasonable. There is no mention to any specific measurement plan with the detector at such high neutron energies. |  |  |  | 
Total |  | Personel | Travel | Equipment
30.000 € |  | 30.000 € | 0 € | 0 €
2

## Slide 14
153 | TERRIFIC: Development of Terbium based cancer theranostics | TERRIFIC: Development of Terbium based cancer theranostics |  | 
Alexander Gerbershagen, UMCG (Netherlands) |  | PTB | Germany | Elisa Pirovano
LoI: In relation to the use of Tb for theragnostic to treat cancer. Full size project for First Industrial Deployments (FID) for new technologies for all production steps: 1. Enrichment of target material, 2. Target preparation, 3. Irradiation, 4. Post-irradiation radiochemistry, and 5. Radiolabeling. |  |  | Upgrade of existing Total Absorption Spectrometers (TAS) that will be employed in beta decay studies of relevance for the calculation of reactor decay heat and the reactor antineutrino spectra. Building a TAS of second generation, allying efficiency with higher segmentation and energy resolution thanks to 16 LaBr3 crystals to be added to the existing segmented TAS in Europe i.e. the DTAS detector (18 NaI crystals [DTAS]) and the Rocinante detector (12 BaF2 crystals [Rocinante]) | 
Comments by evaluator: Very interesting, but not a nuclear data project. |  |  |  | 
Total |  | Personel | Travel | Equipment
319.000 € |  | 240.000 € | 24.000 € | 55.000 €
0

## Slide 15: Budget allocation process
Initial request budget: 1400 k€, but budget available: 300 k€
Impose limits of 175k€ and 100 k€ to each LoI according to instructions
=> Budget from 1400k€ to 727k€
Assign qualification (4,3,2,1,0)
  1 LoI with 0 (not aligned with the project needs): TERRIFIC, which is neglected
  0 LoIs with 1 (some impact): none
  3 LoIs with 2 (relevant): SCINDET, NPL-T & NDELISA: only 10% of budget, accepted!
  3 LoIs with 3 (important): DEAR, NEWVAL, (NA)2STARS
  3 LoIs with 4 (prioritary): NEDEGARA, SADR, SiTelescope, ACTAnp
=> Budget from 727k€ to 627k€
Impose an additional limit of 75k€ max. per LoI
=> Budget from 627k€ to 514k€
Scale all (regardless of their score) by 0,58
=> Budget from 514k€ to 300k€

## Slide 16
ID | LoI | Institute | Request | Allocated | Cut
2 | TERRIFIC | UMCG | 319 k€ | 0 k€ | 100%
61 | NEDEGARA for (n,tot) @CERN | CEA | 404 k€ | 44 k€ | 90%
106 | SiTelescope for (n,chp) @CERN | ULodz | 145 k€ | 44 k€ | 70%
59 | NEDEGARA for (n,tot) @CERN | HZDR | 145 k€ | 44 k€ | 70%
21 | ACTAnp for n-p @PTB | PTB | 135 k€ | 44 k€ | 68%
2 | nTOFcpxs for (n,chp) @CERN by NPL (same a SADR?) | NPL | 0 | 0 | -
20 | SiTelescope for (n,chp) @CERN | CIEMAT | 10 k€ | 5.8€ | 42%
77 | SADR for for (n,chp) @CERN with Neutron Transmutation Doped position sentitive Si detectors | INFN-LNS | 40 k€ | 23 k€ | 42%
70 | NPL-T: Higher power target designs @NPL for ~500 uA beam | NPL | 38 k€ | 22 k€ | 42%
21 | DEAR Diamond detector for ToF @nTOF-NEAR | NTUA | 35 k€ | 20 k€ | 42%
106 | SADR for for (n,chp) @CERN with Neutron Transmutation Doped position sentitive Si detectors | UIOannina | 30 k€ | 17.5 k€ | 42%
118 | SCINDET for characterizing liquid scintillator’s up to 40 MeV at NFS | CIEMAT | 30 k€ | 17.5 k€ | 42%
59 | NDELISA for SiPM in vacuum for ELISA@GELINA | UGroningen | 25 k€ | 14,6 k€ | 42%
81 | NEWVAL for study on new Integral experiments and facilities for Nuclear Data Validation | IRSN | 17.5 k€ | 10 k€ | 42%
140 | (NA)2STARS for the upgrade of TAS(s) with LaBr3 for decay data exp. | IFIC | 16,4 k€ | 9,6 k€ | 42%
121 | DEAR Diamond detector for ToF @nTOF-NEAR | TU Wien | 10 k€ | 5.8€ | 42%