## Slide 1
Iberian GW Meeting – 23 June 2025
T. Dent, for the LVK Collaborations
Image Credit: NASA/GSFC
O4 LIGO-Virgo-KAGRA Network Status & Plans

## Slide 2: LIGO-Virgo-KAGRA collaborations
2
& others outside Europe !

## Slide 3: Plan of the talk
The weakest force : gravity
Ground-based GW detectors & sources
CBC GW science : astrophysics, relativity, …
LVK observations up to O3 (2015-2020)
The O4 run (2023-2025)
O5 and looking forward (A# et al.)
Image Credit: Aurore Simonnet/SSU

## Slide 4: 4 (known) fundamental forces

## Slide 5: How to ‘see’ GW
Tidal effect on spatially separated test particles
Can extract energy – imagine a spring connecting particles
Measure variations in distance or travel time
Strain

## Slide 6: The broad spectrum of GW
NASA / Ira Thorpe
Hz

## Slide 7: GROUND-BASED GW DETECTORS

## Slide 8: Laser interferometric detection
‘Michelson interferometer’ end mirrors free to move along arms
Differential length change δ(Lx − Ly) = h(t) · L ⇒ time of flight difference ⇒ relative phase difference @ beam-splitter ⇒ transmitted intensity variation @ PD

## Slide 9: Down to <𝟣e–𝟤𝟥: Enhance the signal
  Long arms
  High power ultra-stable laser
  Power recycling (factor ~𝟥𝟧)
  Resonant arm cavities (factor ~𝟥𝟢𝟢)
  Signal recycling
LVC, PRL 116 061102 (2016)

## Slide 10: Down to <𝟣e–𝟤𝟥: Suppress noise
Seismic noise reduction
  Active seismic isolation
  Quadruple pendulum suspension
  ~𝟣𝟢 orders of magnitude displacement noise suppression above 𝟣𝟢Hz

## Slide 11: Precision Interferometry : Understanding Measurement Noises
Fundamental Noises
Displacement Noises
 𝚫L(f)
  Seismic noise
  Radiation Pressure
  Thermal noise
    Suspensions
    Optics
Sensing Noises
 𝚫tphoton(f)
    Shot Noise
    Residual Gas
Technical Noises
Hundreds of them …
Advanced LIGO Design Noise Budget
https://dcc.ligo.org/LIGO-T1800044/public

## Slide 12
The LIGO Vacuum System
Consists of
  9000 m3 volume
  30000 m2 surface area
  50000 m of spiral welds
  10-8 - 10-9 torr
At each observatory

## Slide 13: A global network
Detection rate, sky coverage, network duty cycle
Greater accuracy on source parameters - Distance, sky location, orientation of source ...
Image credit: LIGO Lab

## Slide 14: ADVANCED VIRGO
163 Institutions in 20 different countries ~915 collaboration members
Date

## Slide 15
Cryogenic sapphire mirror payload Image Credit: Rahul Kumar/LIGO Lab

## Slide 16: Transient GW sources
Cataclysmic events of compact astrophysical objects
  NeutronStar / BlackHole binary mergers
  CoreCollapseSuperNovae
  Pulsar glitches / oscillation modes ?
  Exotics : cosmic string kinks ? ...
Image : D. Price (Exeter) & S. Rosswog (Bremen)
Simulation: F. Hanke et al. (MPIA Garching)
Highly relativistic systems
CBC
Burst

## Slide 17: Persistent GW sources
Continuous Wave : sinusoids from rotating NS
  many potential sources in Galaxy
Stochastic : random ‘background’ from superposition of unresolved sources
  astrophysical transients at high redshift
  primordial quantum fluctuations / critical phenomena in very early Universe
Chandra X-ray images of Crab pulsar

## Slide 18: Anatomy of a binary merger
Post-Newtonian
Numerical Relativity
Black Hole Perturbation
Theory
LVC PRL 116, 061102 (2016)

## Slide 19: Anatomy of a binary merger
Post-Newtonian
Numerical Relativity
Black Hole Perturbation
Theory
LVC PRL 116, 061102 (2016)
14 September 2015, 09:50:45 UTC

## Slide 20: Astrophysics from BBH mergers
Stellar winds ‘weak’ allowing ~30 M☉ BH to form
GW150914

## Slide 21: Astrophysics from BBH mergers
Stellar winds ‘weak’ allowing ~30 M☉ BH to form
Likely forming at low metallicity
GW150914

## Slide 22: Astrophysics from BBH mergers
Stellar winds ‘weak’ allowing ~30 M☉ BH to form
Likely forming at low metallicity
~85 M☉ BH above ‘mass gap’ from SN pair instability
⇒ hierarchical formation?
GW190521

## Slide 23: Exploring GR with GW sources
Strong field : compact objects (NS, BH) and behaviour ‘close to’ singularities via NR
Precise constraints on low velocity PN expansion
  v/c up to ~0.4
  ‘Higher modes’ (beyond quadrupole)
Black hole perturbation theory - ‘ringdown’
Small mass ratio expansion – ‘self-force’
  Probe of Schwarzschild / Kerr geometry
Exotics : black hole mimickers, boson stars …
Early Universe : quantum fluctuations … ??
Consistency of relativistic effects in double pulsar J0737–3039A, B (Image M. Kramer)

## Slide 24: Exploring GR with GW propagation
Verify 2 transverse tensor polarizations
Constrain non-GR dispersion (eg graviton mass)
Constrain Lorentz symmetry violation …
(‘Strong’ or ‘Weak’) Gravitational Lensing of GW
  Amplification of signal
  Multiple transient “images”, other possible effects
Verify speed of GW propagation
  Multi-messenger events with prompt emission

## Slide 25: Multi-messenger Astronomy with GW
X-rays / Gamma-rays
Gravitational Waves
Binary Neutron Star / Neutron Star – Black Hole Merger
UV / Visible / Infrared Light
Radio
HE Neutrinos

## Slide 26: GW170817 / GRB 170817A
First GW multi- messenger observation
Time and sky position coincident between GW and gamma-ray observatories

## Slide 27: GW170817 / GRB 170817A
Sneppen et al. arXiv:2404.08730
First GW multi- messenger observation
Time and sky position coincident between GW and gamma-ray observatories
Optical, UV & IR counterpart (‘kilonova’)

## Slide 28: Science from multi-messenger BNS detection
Speed of GW = speed of light
Rules out many non-GR ‘dark energy’ theories
Heavy element nucleosynthesis in NS collisions
Independent estimate of Hubble constant
Bounds on NS tidal deformability & equation of state
Bounds on high energy neutrino emission (IceCube, Pierre Auger)
28

## Slide 29: LVK Highlights : O3 AND onward
Detections of compact binary mergers from 2015-2020 Image credit: LVK / S. Ghonge & K. Jani

## Slide 30: LIGO-Virgo observations up to 2020
O3 run : April 2019 through March 2020
90 ‘significant’ binary merger candidates (cumulative O1-O3)

## Slide 31
BNS detections
Broad BBH population
https://www.ligo.org/science/ Publication-O3bAstroDist/
Outliers .. ?
NS-BH detections
IMBH …
31

## Slide 32: LVK public data products
GW Open Science Center data on GWTC-3
Data release for papers : inference samples, table data, tutorial notebook …
https://www.gw-openscience.org/eventapi/html/GWTC-3/
https://dcc.ligo.org/LIGO-P2100239/public https://zenodo.org/record/5655785

## Slide 33: O4 run : observing since May 2023
LIGO using frequency-dependent squeezing of photon state
April 2024 : Virgo joined
Average BNS inspiral range (Mpc)
O4a
O4b
O4c (ongoing)
Essick+ (in prep.)

## Slide 34: O4 run : observing since May 2023
LIGO using frequency-dependent squeezing of photon state
April 2024 : Virgo joined
Average BNS inspiral range (Mpc)
O4a
O4b
O4c (ongoing)

## Slide 35: O4 run : observing since May 2023
LIGO using frequency-dependent squeezing of photon state
April 2024 : Virgo joined
O4c extended through November 2025
  allow for preparation of O5 upgrade hardware & joint followups with Rubin Observatory
KAGRA had significant setbacks from Noto Peninsula Earthquake (Jan 2024)
  Rejoined O4 with sensitivity ~10 Mpc
Average BNS inspiral range (Mpc)
O4a
O4b
O4c (ongoing)

## Slide 36: O4 run : observing since May 2023

## Slide 37: O4 run : observing since May 2023

## Slide 38: O4 public event highlights
230518 : pre-run engineering data Probable NS-BH merger
230529 : single-detector event Another possible NS-BH merger (see next slide …)
240615 : smallest localization area 5 deg2 due to 3 detectors (first of 2 alerts on same day!)
https://gracedb.ligo.org/superevents/public/

## Slide 39: GW230529 : the lightest NS-BH ?
First publication of O4 run
Strengthens evidence against supposed ‘mass gap’ 3-5 M☉
No direct measurement of tidal (NS matter) effects
Increases estimated rate of future NS-BH mergers with EM emission

## Slide 40: New for O4c : Public ℳ estimates
Precisely measured from inspiral signal in the low mass regime
Accurately estimated by search pipelines in the low mass regime
GW170817
ℳ (Injected)
ℳ (Reconstructed)

## Slide 41: Binned chirp mass information
New data product providing source chirp mass in the form of binned probabilities.
The predetermined bins are the following (in units of solar masses):
[0.1, 0.87, 1.0, 1.1, 1.2, 1.3, 1.4, 1.5, 1.7, 1.9, 2.1, 2.3, 3, 5.5, 11, 22, 44, 88, 1000]
Example: A chirp mass of 0.87 M☉ may correspond to a 1 M☉, 1 M☉ merger.
Bins are ‘fine’ in the HasSSM and HasNS regime where chirp mass is recovered more accurately,
Become coarse for higher masses in the BBH regime.

## Slide 42: Binned chirp mass information
New data product providing source chirp mass in the form of binned probabilities.
The predetermined bins are the following (in units of solar masses):
[0.1, 0.87, 1.0, 1.1, 1.2, 1.3, 1.4, 1.5, 1.7, 1.9, 2.1, 2.3, 3, 5.5, 11, 22, 44, 88, 1000]
Example: A chirp mass of 1.2 M☉ may correspond to a 1.4 M☉, 1.4 M☉ merger.
Example: A chirp mass of 3 M☉ may correspond to a 10 M☉, 1.4 M☉ merger.
Bins are ‘fine’ in the HasSSM and HasNS regime where chirp mass is recovered more accurately
Become coarse for higher masses in the BBH regime.

## Slide 43: Binned chirp mass information
New data product providing source chirp mass in the form of binned probabilities.
The predetermined bins are the following (in units of solar masses):
[0.1, 0.87, 1.0, 1.1, 1.2, 1.3, 1.4, 1.5, 1.7, 1.9, 2.1, 2.3, 3, 5.5, 11, 22, 44, 88, 1000]
Example: A chirp mass of 8.7 M☉ may correspond to a 10 M☉, 10 M☉ merger.
Example: A chirp mass of 44 M☉ may correspond to a 50 M☉, 50 M☉ merger.
Bins are ‘fine’ in the HasSSM and HasNS regime where chirp mass is recovered more accurately
Become coarse for higher masses in the BBH regime.

## Slide 44: Integration into public alerts
The most probable bin is reported in the GCN circular
.json of all bin probabilities and .png histogram on GraceDB (public)
  Low-latency estimate available in ~seconds along with em-bright+p(astro) : mchirp_source.json
  PE estimate available alongside update alert within ~hour(s) : mchirp_source_PE.json

## Slide 45: Integration into public alerts
The most probable bin is reported in the GCN circular
.json of all bin probabilities and .png histogram on GraceDB (public)
  Low-latency estimate available in ~seconds along with em-bright+p(astro) : mchirp_source.json
  PE estimate available alongside update alert ~hour(s) : mchirp_source_PE.json

## Slide 46: CBC detection capabilities in O4a
Extensive injection (simulated signal) campaign for CBC searches
Essick et al. in prep

## Slide 47: CBC detection capabilities in O4a
Extensive injection (simulated signal) campaign for CBC searches
Essick et al. in prep

## Slide 48: CBC detection capabilities in O4a
Extensive injection (simulated signal) campaign for CBC searches
Essick et al. in prep

## Slide 49: “What We Did Over The Summer Holidays”
Many upcoming O4a LVK papers (O4a data release late Aug.) … watch this space !
Transient detection catalog : introduction, methods, results
Burst, stochastic, continuous wave, sub-solar-mass CBC searches
Population properties of CBC sources
H0 measurement using CBC sources
Tests of GR and search for GW lensing with CBC sources
Exceptional event paper(s)

## Slide 50
LVK Observational WP 2024-5 https://dcc.ligo.org/LIGO-T2400403/public

## Slide 51: INTO The future . . .

## Slide 52: O5 : the ‘A+’ design
LIGO-T1800042
Mid-scale upgrade of original ‘Advanced LIGO’
Most critical technology : improved mirror coatings to deal with higher arm power
Virgo O5 plans currently under reassessment https://observing.docs.ligo.org/plan/

## Slide 53: Post-O5 : A# / Virgo_nEXT /...
Upgrades exploiting existing facilities to the limit
Targets factor ~2 increase in range over O5
Stepping stone to future detector technologies
Fill gap in observational capability to ‘next generation’ of observatories
LIGO-India : LIO, Aundha planned to operate early 2030s
D. Reitze, https://www.nsf.gov/mps/phy/nggw/present_ligo.pdf

## Slide 54: Conclusions
O4 run underway with Virgo & KAGRA ⇒ Nov 2025
Lots of O4a results planned for release …
O4b catalogue and results in the pipeline
Many discoveries remain to be made !
This material is based upon work supported by NSF’s LIGO Laboratory which is a major facility fully funded by the National Science Foundation.